# Blog 3 – Complete Guide to Home Insulation in 2025

# Complete Guide to Home Insulation in 2025: Costs, Savings & Smart Upgrades for UK Homes

Home insulation remains one of the most effective ways to reduce energy bills in the UK.

While heating systems, boilers, and smart controls often get attention, **insulation delivers the biggest long-term return**,

especially with energy prices still high in 2025.

This guide covers everything a UK homeowner or renter needs to know:

- What insulation types exist

- How much they cost

- How much you can save

- Government grant options

- Mistakes to avoid

- Whether insulation makes sense for your home

- How tools like the Cost Saver App help forecast payback

This is a practical, plain-English breakdown — no jargon, no complexity.

-----

## 1. Why Insulation Matters in 2025

Over 70% of a typical UK household’s energy consumption goes to heating.

Poor insulation means heat escapes quickly, forcing your boiler to work harder and burn more gas.

Key reasons insulation matters now:

- Standing charges are high, so reducing usage has a real impact

- New homes are built with far stricter insulation standards

- Older homes lose heat up to 3× faster

- Gas prices remain unpredictable

- Carbon emissions targets continue to influence home upgrades

A well‑insulated home:

- heats faster

- stays warm longer

- costs less to run

- increases property value

-----

## 2. Where Most Homes Lose Heat

Typical UK heat-loss distribution:

- **25–30%** through the loft/roof

- **25%** through walls

- **10–15%** through windows

- **10%** through floors

- **15%+** through draughts

Insulation targets each of these areas.

-----

## 3. Loft Insulation (Biggest ROI for Most Homes)

### Cost:

£400–£900 depending on home size

(£200–£400 with DIY)

### Savings:

£150–£250 per year

(Depending on fuel type and usage)

### Why it's essential:

Heat rises — so insulating the loft is the most cost-effective upgrade for 95% of homes with poor insulation.

### Recommended depth:

At least **270mm** (2025 guidance)

### Common mistakes:

- Insulating over ventilation points

- Compressing insulation (reduces effectiveness)

- Blocking loft storage airflow

-----

## 4. Cavity Wall Insulation

Most homes built after 1920 have cavity walls.

### Cost:

£900–£1,800 for an average 3-bed home

### Savings:

£150–£300 per year

### Eligibility:

- Homes with unfilled cavities

- Not suitable for walls exposed to driving rain without proper treatment

### Warning:

Incorrect installation can cause damp. Always use TrustMark-approved installers.

-----

## 5. Solid Wall Insulation (Internal or External)

Common in homes built before 1920.

### Cost:

- Internal: £5,000–£8,000

- External: £9,000–£15,000

### Savings:

£250–£450 per year

### Benefits:

- Major comfort improvement

- Large reduction in heat loss

- Modernised exterior appearance (external system)

### Downsides:

- Expensive

- Internal insulation reduces floor space slightly

- Installation takes several days

-----

## 6. Floor Insulation

Most heat is lost from suspended timber floors.

### Cost:

£1,200–£2,000

### Savings:

£40–£70 per year

### Best for:

- Victorian homes

- Properties with accessible crawl spaces

### Tip:

Rugs and thick carpets improve insulation cheaply.

-----

## 7. Window Upgrades (Double/Triple Glazing)

### Cost:

£300–£600 per window

(£5,000–£9,000 for full home)

### Savings:

£100–£180 per year

(Varies wildly based on home)

### Alternatives:

- Secondary glazing

- Thermal curtains

- Draught-proofing film

These offer 60–70% of the benefit at 10–15% of the cost.

-----

## 8. Draught-Proofing (Most Overlooked Saver)

Cheap but extremely effective.

### Cost:

£10–£50 for DIY

£100–£200 for professional

### Savings:

£20–£50 per year

### Typical draught sources:

- Chimneys

- Windows

- Doors

- Loft hatches

- Floorboards

-----

## 9. Insulation ROI Compared (2025)

| Upgrade | Typical Cost | Annual Savings | ROI Rating |

|--------|--------------|----------------|------------|

| Loft insulation | £400–£900 | £150–£250 | ⭐⭐⭐⭐⭐ |

| Cavity wall insulation | £900–£1,800 | £150–£300 | ⭐⭐⭐⭐ |

| Draught-proofing | £10–£200 | £20–£50 | ⭐⭐⭐⭐ |

| Floor insulation | £1,200–£2,000 | £40–£70 | ⭐⭐⭐ |

| Double glazing | £5,000–£9,000 | £100–£180 | ⭐⭐ |

| Solid wall insulation | £5,000–£15,000 | £250–£450 | ⭐⭐ |

Loft insulation provides the **biggest impact per pound spent**.

-----

## 10. Government Support & Grants (2025)

### ECO+ Scheme

Supports low-income households and homes with poor insulation.

### Great British Insulation Scheme (GBIS)

Prioritises low EPC-rated homes (E, F, G).

### Boiler Upgrade Scheme (heat pump support)

Relevant when combined with insulation improvements.

### Local authority grants

Vary by region — particularly strong in:

- Scotland

- Wales

- Northern England

-----

## 11. Case Studies (Realistic UK Examples)

### **Case Study A – 3-Bed Semi-Detached (1980s Build)**

- Loft insulation increased from 100mm → 300mm

- Cavity walls filled

- Draught-proofing installed

**Total cost:** £1,300

**Annual savings:** ~£320

**Payback period:** ~4 years

### **Case Study B – Victorian Terrace (Solid Walls)**

- Added internal solid wall insulation to two cold rooms

- Improved loft insulation

- Installed secondary glazing

**Total cost:** £6,200

**Annual savings:** ~£380

**Comfort increase:** Significant

-----

## 12. How Insulation Improves EPC Ratings

EPC scores heavily weight insulation quality.

Improvements typically yield:

- Loft insulation: +6–10 points

- Wall insulation: +8–14 points

- Floor insulation: +2–5 points

- Window upgrades: +3–6 points

Better EPC = higher home value.

-----

## 13. Where Homeowners Waste Money

Common UK mistakes:

- Paying for expensive glazing before addressing loft insulation

- Over-insulating without proper ventilation (causes damp)

- Ignoring draught-proofing (massive heat loss)

- Running dehumidifiers excessively due to poor airflow

- Not checking grant eligibility

-----

## 14. How the Cost Saver App Helps You Decide What to Upgrade

The Cost Saver App uses your real bill data and usage patterns to:

### ✔ Identify where your heat loss likely occurs

### ✔ Provide insulation recommendations tailored to your home type

### ✔ Estimate long-term payback periods

### ✔ Compare heating usage before and after improvements

### ✔ Suggest the best low-cost interventions first

### ✔ Help you avoid unnecessary or overpriced upgrades

This transforms insulation decisions from *guesswork* to *data-driven planning*.

-----

## Final Thoughts

Insulation remains one of the smartest, fastest-return home improvements in 2025.

From simple draught-proofing to full wall insulation, every upgrade reduces waste and boosts comfort.

You don’t need to guess where your heat is going — and you don’t need to overspend.

By combining smart insulation choices with the insights from the **Cost Saver App**, every UK household can control heat loss,

lower bills, and make better decisions for long-term savings.